## Slide 1: Design of the Turbulent Tube Flocculator
Presented by
William Pennock

## Slide 2: Introduction
Me
Flocculation
You

## Slide 3: Design Objectives
Turbulent flow
High Péclet number (approaching plug flow)
Minimum average energy dissipation rate
Hydraulic residence time
  Selected to have collision potential of 100 m2/3
Similar mixing pattern to baffled hydraulic flocculator

## Slide 4: Design Concept

## Slide 5: Ratio of to ,
S
Notes: Used 4.9

## Slide 6: Setting
  Calculated Minimum : 3.1 cm (1.2 in)
  Selected : 3.18 cm (1.25 in)

## Slide 7: Setting
  Calculated Minimum : 105.0 mL/s
  Selected : 109.0 mL/s

## Slide 8: Setting Constriction Width,
Two Constraints:
  Average circumference preserved:
  Constricted area equal to 37% of unconstricted:
Simultaneous solution:
Calculated : 0.66 cm (0.26 in)
Selected : 0.93 cm (0.36 in)

## Slide 9: Setting

## Slide 10: Final Design
Design Parameter | Symbol | Selected Value
Inner Diameter (cm) |  | 
Flow Rate (mL/s) |  | 
Reynolds Number |  | 
Mean Energy Dissipation Rate (mW/kg) |  | 
Length (m) |  | 
Residence Time (s) |  | 
Design Parameter | Symbol | Selected Value
Inner Diameter (cm) |  | 
Flow Rate (mL/s) |  | 
Reynolds Number |  | 
Mean Energy Dissipation Rate (mW/kg) |  | 
Length (m) |  | 
Residence Time (s) |  | 

## Slide 11: Verification of Design
Quantity | Equation | Calculated | Measured
Rapid Mix Minor Loss |  | 1.3 cm | -
Tube Flocculator Major Loss |  | 6.8 cm | -
Tube Flocculator Minor Loss |  | 34.4 cm | -
Total System Head Loss |  | 42.4 cm | 32 cm
Quantity | Equation | Calculated | Measured
Rapid Mix Minor Loss |  | 1.3 cm | -
Tube Flocculator Major Loss |  | 6.8 cm | -
Tube Flocculator Minor Loss |  | 34.4 cm | -
Total System Head Loss |  | 42.4 cm | 32 cm

## Slide 12: 1 L/s Tube Flocculator Constraints
What would be a good head loss?

## Slide 13: What Sets the Lower Bound for Head Loss?

## Slide 14: What Sets the Upper Bound for Head Loss?
Pressure!
  Max Pressure of 3 in Tubing = 10 psi (7 m)
Floc break-up!
http://stream1.gifsoup.com/view/784435/water-balloon-o.gif

## Slide 15: Solve for and
Choose
Notes: Usual range is 10 mW/kg

## Slide 16: Flocculator Dimensions
Assuming each coil takes up 1.5 diameters and that maximum height of flocculator must be 2 m:
Notes: Why set the maximum height at 2 m?
About 14 ft
Could store chemical stocks in here or put entrance tank here
What is missing in this design?

## Slide 17: Choosing the Spacing Between Constrictions
Can be determined as solely a function of , the ratio of the constricted area of tubing to the unconstricted area.
H

## Slide 18: Understanding Constriction Spacing
Notes: Want spaced out so that design is cheaper and so as to not lose too much volume

## Slide 19: Deriving Area Ratio Formula
Using knowledge of head loss, solve for Area Ratio,

## Slide 20: Determining Constriction Dimensions
First, find head loss required from constrictions:

## Slide 21: Constriction Dimensions
Notes: Would need to have higher energy dissipation rate to have closer to optimum.
Would need to have higher energy dissipation rate to have Π_AR closer to optimum.

## Slide 22: Questions?